![I.C.E.LOGO [Converted].png]()

**M8 Snow Guard Specification Sheet**

***PART 1 GENERAL***

* 1. SUMMARY
1. Work Includes

1. Install M8 Snow Guard to roof system.

2. Provide necessary components: M8 Snow Guard and Fasteners (3 #12 Screws).

1.2 RELATED SECTIONS

 1. Section 07610 Standing Seam Metal Roofing

 2. Section 07410 Preformed Metal Roofing

 3. Section 07600 Flashing and Sheet Metal

1.3 SYSTEM

1. Components

 1. M8 Snow Guard.

2. Fasteners.

1. Design - To be recommended by Manufacturer or Structural Engineer.

1.4 SUBMITTAL - Submit Manufacturers Specifications, recommended layout, product drawings and installation instructions.

1.5 QUALITY ASSURANCE - Installer to be experienced in roofing and snow retention for a minimum of not less than 5 years.

1.6 DELIVERY/STORAGE - Inspect material upon delivery and inform distributer of any damaged or missing items. Protect materials from damage until installation.

***PART 2 PRODUCTS***

2.1 MANUFACTURER

 A. Ice Control Engineering, Inc. - 122 N. 1800 W. Unit #9. Lindon, Utah 84042

 Tel. (801) 787-6555; Email: icecontrol@comcast.net; Web: www.icesnowguards.com

2.2 MATERIALS

 A. M8 Snow Guard 14 gauge electro galvanized steel.

 B. Fasteners 2” zinc plated #12 screws.

2.3 FINISH - TGIC Polyester powder coating

***PART 3 EXECUTION***

3.1 EXAMINATION - Inspect roof structure to insure it will withstand snow loads. Correct all problems before installation of snow guards.

3.2 INSTALLATION - Install according to architects drawing and manufacturer’s instructions.